TIER 1 — IMMEDIATE LIFE THREAT (Action: < 5 Mins)

| # | Protocol Name | Updated Rule / Correction | Clinical Logic for the Change |
| --- | --- | --- | --- |
| 1 | Elderly Shock Spiral | MAP < 75 (was 70) AND HR > 75 on BB (was 80) | Correction: Elderly patients with chronic HTN suffer organ damage at a MAP of 70. Raising the floor to 75 provides a safety buffer. |
| 2 | Respiratory Burnout | SpO₂ < 92% AND RR > 22 | Agree. No change needed. This identifies the "exhaustion point" before the crash. |
| 3 | Hypercapnic Collapse | EtCO₂ > 45 (was 50) AND RR < 12 | Correction: Waiting for 50 in the elderly risks profound somnolence (coma). 45 is the ICU warning line. |
| 4 | Chemical Failure | EtCO₂ < 30 AND RR > 30 | Agree. This is the "Kussmaul" breathing pattern of severe metabolic acidosis. |
| 5 | Brady-Shock | MAP < 75 AND HR < 50 | Correction: Linked to the MAP floor increase. A slow heart cannot compensate for low pressure. |
| 6 | Triple Resp. Failure | EtCO₂ > 45, RR < 12, SpO₂ < 92% | Correction: Tighter EtCO₂ and RR thresholds to trigger invasive support faster. |

🟠 TIER 2 — CRITICAL (Action: 15–30 Mins)

| # | Protocol Name | Updated Rule / Correction | Clinical Logic for the Change |
| --- | --- | --- | --- |
| 7 | Cardiac Mechanical Failure | PP < 30 | Agree. This is the most sensitive indicator of failing stroke volume. |
| 8 | Vascular Catastrophe | SBP > 160 (was 170) AND PP > 70 | Correction: 160 SBP is enough to blow an aneurysm in a 74-year-old. Lowering the trigger saves vessels. |
| 9 | Severe Hypoxic Stress | HR > 120 AND SpO₂ < 90% | Agree. This will cause an MI (Type 2) in an elderly heart within minutes. |
| 10 | Low MAP + Narrow PP | MAP < 75 AND PP < 30 | Correction: Matches the new MAP floor. This is the "Low Flow" state. |
| 11 | Rapid Deterioration | $\Delta$ SBP > 20 or $\Delta$ HR > 20 | Agree. In the ICU, the change is the message. |

🟡 TIER 3 — HIGH-RISK (Action: ≤ 60 Mins)

| # | Protocol Name | Updated Rule / Correction | Clinical Logic for the Change |
| --- | --- | --- | --- |
| 12 | Hypertensive Emergency | SBP > 180 + Neuro signs | Agree. Requires IV titratable drips (Nicardipine/Labetalol). |
| 13 | “Stable” Deceiver | SpO₂ 93%, HR 75, MAP 75 | Correction: This is the "Yellow Zone." It requires a Lactate check to ensure shock isn't hidden. |
| 14 | Elderly Masked Shock | MAP < 75 AND HR < 90 | Correction: If the heart isn't racing to fix the low MAP, the heart is failing or blocked by meds. |
| 15 | Occult Acidosis | EtCO₂ < 32 AND RR > 24 | Agree. Early sepsis warning. |
| 16 | Trend-Based Decline | Rise in EtCO₂ / Drop in SpO₂ | Agree. Use the "Trending" feature on the ICU monitor. |